## Sheet
Date of birth | 1/1/2000 12345678 |  | Gender | Male | UZeiss EYE Siriraj
Patient ID
Physician |  | Dr.Naris | Operator |  | DO-0987651234
Date of calibration test: |  | 5/12/2022 | by: |  | DO-0987651234 | Result: | OK
Date of measurement: |  | 5/12/2022 | n: |  | 1.3375 |  | CVD: | 12.00 mm
:
OD |  |  |  | IOL calculation |  |  |  | Os
right | [7 empty] | left
(o) |  |  |  |  | co
| LS: Phakic |  | VS: Vitreous body | Eye status | LS: Phakic |  |  | VS: Vitreous body
Ref: -- |  |  | VA: --- |  | Ref: --- |  |  | VA: ---
LVC: Untreated Target ref.: +0.00 D |  | LVC mode: - | SIA: +0.00 D @ 0 |  | LVC: Untreated Target ref.: +0.00 D |  | LVC mode: - | SIA: +0.00 D @ 0
| AL: 23.80 mm | SD: | 8 m | Biometric values | AL: 24.02 mm | SD: | 8 m
ACD: 2.57 mm |  | SD: | 5 m |  | ACD: 2.50 mm | SD: | 6 m
| LT:5.17 mm | SD: | 7 m |  | LT 5.34 mm | SD: | 12 m
WTW: 11.8 mm |  |  |  |  | WTW: .11.8 mm
SE: 42.06 D |  | SD: 0.02 D | K1: 41.45 D | @.81 | SE: 41.41 D | SD: 0.03 D | K1: 41.29 D | @131
K: -1.24 D |  | @81 | K2: 42.68 D | @171 | K: 0.22 D | @131* | K2: 41.52 D | .41
TSE: 41.95 D |  | SD: 0.01 D | TK1: 41.13 D | @85 | TSE: 41.34 D | SD: 0.03 D | TK1: 41.12 D | @105
ATK: -1.66 D |  | @85 | TK2: 42.80 D | @175 | TK: -0.45 D | @105* | TK2: 41.56 D | @ 15
| Aloon SA60WF/SN60WF |  | AMO Tecnis 1 ZCB/ZCT/GCB | K | Alcon SA60WF/SN60WF |  | ] AMO Tecnis 1 ZCB/ZCT/GCB/
| SRKT - |  | ICB/ZFR/ZMB |  | -SRKT |  | ICB/ZFR/ZMB -SRKT
| A const: 119.00 |  | A const.: 119.30 SRKT- |  | A cons.: 119.00 |  | A cons.: 119.30
| IOL (D) | Ref (D) | IOL (D) | Ref (D) | IOL (D) | Ref (D) | IOL (D) +23.50 | Ref (D) -0.83
+23.00 | +22.50 | 0.79 0.43 | +23.50 +23.00 | 0.86 0.51 | +23.00 +22.50 | -0.75 -0.39 | +23.00 | 0.48
| +22.00 | -0.08 | +22.50 | -0.16 | +22.00 | -0.04 | +22.50 | -0.13
| +21.50 | +0.27 | +22.00 | +0.18 | +21.50 | +0.31 | +22.00 | +0.22
| +21.00 | +0.61 | +21.50 | +0.52 | +21.00 | +0.66 | +21.50 | +0.56
| +21.89Emmetropia |  | +22.26Emmetropia |  | +21.94Emmetropia |  | +22.31Emmetropia
Alcon PanOptix TFNT00/TFNT ] |  |  | AMO SENSAR AR40e |  | Aloon PanOptix TFNT00/TFNT |  | AMO SENSAR AR40e
| 20-T60 |  |  |  | 20-T60
| - SRK/T - A const: 119.10 |  | - SRK@/T - |  | - SRKBIT - |  | - SRKB/T - A const.: 118.70
IOL (D) | Ref (D) |  | IOL (D) A const.: 118.70 Ref (D) |  | IOL (D) A const.: 119.10 | Ref (D) | IOL (D) | Ref (D)
+23.00 | 0.69 |  | +22.50 | -0.70 | +23.00 | -0.66 | +22.50 | -0.66
|  |  | +22.00 |  | +22.50 | -0.31 | +22.00 | -0.30
+22.50 |  | 0.34 |  | -0.34 |  |  |  | +0.06
+22.00 |  | +0.01 | +21.50 | +0.01 | +22.00 | +0.05 | +21.50
+21.50 |  | +0.35 | +21.00 | +0.36 | +21.50 | +0.39 | +21.00 | +0.41
+21.00 +22.01 | +0.69 |  | +20.50 | +0.71 | +21.00 | +0.74 Emmetropia | +20.50 | +0.76
| Emmetropia |  | +21.52Emmetropia |  | +22.07 |  | +21.58Emmetropia
() Bordertine value |  |  | (*) Value was edited manually |  |  | -- No value measured
Comment
Signature
ZEISS